## Sheet1
I0.0 | Start_pb
I0.1 | Stop_pb
I0.2 | Reset_pb
I0.3 | Emergency_pb
I0.4 | Phase_fault
I0.5 | Feed_lps
I0.6 | Feed_p_sw
I0.7 | Feed_p_ol
I1.0 | diff_cart_sw
I1.1 | hpp_lps
I1.2 | hpp_hps
I1.3 | hpp_sw
I1.4 | hpp_ol
I1.5 | Suck_back_t_ll_left
I1.6 | Suck_back_t_ll_Right
I1.7 | Degassing_T_LO_LV
I2.0 | Degas_PUMP_SW
I2.1 | Degas_PUMP_OL
I2.2 | CEDI_PUMP_SW
I2.3 | CEDI_PUMP_OL
I2.4 | CEDI_ENABLE1_SW
I2.5 | CEDI_ENABLE2_SW
I2.6 | CEDI_LOW_FLOW_SW
I3.0 | ORP_HIGH
I3.1 | CIR_PUMP_SW
I3.2 | CIR_PUMP_OL
I3.3 | PRECL_DP_SW
I3.4 | ACID_DP_SW
I3.5 | SMBS_DP_SW
I3.6 | SYS_AUTO_SW
I4.0 | SUCK_BACK_HI_DEGAING
I4.1 | CIR_T_HIGH
I4.3 | LOW_FLOW_CEDI_SW
I4.4 | degasing_tank_hi_hi
M10.1 | ALWAYS_ON
M10.2 | ALWAYS_OFF
M20.0 | START_UP
M20.1 | STOP_PLANT
M20.5 | TRIP_PLANT
M20.6 | PHASE_FAULT_M
M23.0 | Delay_lowpressure_hpp
M23.1 | cir_high_level_hpp
M23.3 | Condition_hpp_cir_high
M24.0 | SW_FEED_P
M24.1 | SW_HPP
M24.2 | SW_CIR
M24.3 | SW_DEGASING
M24.4 | SW_CEDI
M50.0 | Pressure_ok_hpp
M50.1 | condition_hpp
M50.2 | LEVEL_OK_CIR
M50.3 | CONDITION_CIR_PUMP
M50.4 | level_ok_degasing
M50.5 | condition_degasing
M50.6 | LOW_PRESSURE_SWITCH
M50.7 | condition_feed_pump
M51.0 | level_degasing_tank_ok
M51.1 | condition_cedi
Q0.0 | START_PLANT_LAMP
Q0.1 | STOP_PLANT_LAMP
Q0.2 | TRIP_LAMP
Q0.3 | phase_failure_lamp
Q0.4 | orp_low_lamp
Q0.5 | FEED_PUMP_COMMAND
Q0.6 | FEED_PUMP_OL_LAMP
Q0.7 | degassing_t_low_level
Q1.3 | HPP_PUMP_COMMAND
Q1.4 | HPP_PUMP_OL_LAMP
Q1.5 | SB_TANK_LL_LAMP
Q1.6 | DEGASING_P_COMMAND
Q1.7 | DEGASING_OL_LAMP
Q2.0 | CEDI_LOW_LAMP_FLOW
Q2.2 | CEDI_PUMP_COMMAND
Q2.3 | CEDI_PUMP_OL_LAMP
Q2.4 | SB_TANK_LL_CIR_LAMP
Q2.5 | CIR_PUMP_COMMAND
Q2.6 | CIR_OL_LAMP
Q2.7 | ACID_DP_RUN
Q3.0 | PRECL_DP_RUN
Q3.1 | SMBS_DP_RUN
Q3.2 | CEDI_PWR_1_ON
Q3.3 | CEDI_PWR_2_ON